| Port of Port Orford Crane Replacement |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| September 2024 |  |  |  |  |  |  |  |
| Description | Quantity | Unit |  | Unit Price |  | Total Cost |  |
| MOBILIZATION, SURVEYING, CLEANUP, AND DEMOBILIZATION | 1 | L.S. |  | $ |  | $ |  |
| DEMOLITION AND REMOVAL OF EXISTING FUEL FACILITY | 1 | L.S. |  | $ |  | $ |  |
| PAVEMENT REMOVAL | 22 | S.Y. |  | $ |  | $ |  |
| CONCRETE REMOVAL AND APRON REPAIR/NEW CURB | 1 | L.S. |  | $ |  | $ |  |
| FURNISH DRILLING EQUIPMENT | 1 | L.S. |  | $ |  | $ |  |
| DRILLED SHAFT EXCAVATION, 9.19FT DIAMETER | 130 | L.F. |  | $ |  | $ |  |
| DRILLED SHAFT CONCRETE | 1 | L.S. |  | $ |  | $ |  |
| DRILLED SHAFT REINFORCEMENT, GRADE 80 AND GRADE 60, AS INDICATED | 1 | L.S. |  | $ |  | $ |  |
| CSL TEST ACCESS TUBES | 2,331 | L.F. |  | $ |  | $ |  |
| CSL TESTS | 18 | EA |  | $ |  | $ |  |
| ANCHOR BOLTS | 108 | EA |  | $ |  | $ |  |
| EXPANSION JOINT FILLER | 30 | L.F. |  | $ |  | $ |  |
| EXPANSION JOINT EPOXY GROUT | 6 | C.F. |  | $ |  | $ |  |
| ADDITIONAL PAD REINFORCEMENT AROUND ANCHORS | 1 | TON |  | $ |  | $ |  |
| REBAR SPLICE COUPLER | 72 | EA |  | $ |  | $ |  |
| ELECTRICAL ROOM | 1 | EA |  | $ |  | $ |  |
| OPERATOR BOOTH | 2 | EA |  | $ |  | $ |  |
| 600-ampree Switchboard | 1 | EA |  | $ |  | $ |  |
| 3-inch schedule 40 PVC Conduit | 220 | LF |  | $ |  | $ |  |
| Trench for underground conduit | 220 | LF |  | $ |  | $ |  |
| 350 kCMIL Copper Conductors | 3400 | LF |  | $ |  | $ |  |
| #4 AGW Copper Conductor | 2440 | LF |  | $ |  | $ |  |
| Concrete Vaults | 2 | EA |  | $ |  | $ |  |
| 400-Ampere Non-Fused Disconnect Stainless Steel | 2 | EA |  | $ |  | $ |  |
| Light Fixtures | 5 | EA |  | $ |  | $ |  |
| Receptacles | 8 | EA |  | $ |  | $ |  |
| Grounding | 1 | LS |  | $ |  | $ |  |
| Branch Circuit to Control Booth | 1 | LS |  | $ |  | $ |  |
|  |  |  |  | TOTAL |  | $ |  |
| Abbreviations: |  |  |  |  |  |  |  |  |
| L.S. = lump sum |  |  |  |  |  |  |  |  |
| S.Y.= square yard |  |  |  |  |  |  |  |  |
| L.F. = linear foot |  |  |  |  |  |  |  |  |
| C.Y. = cubic yard |  |  |  |  |  |  |  |  |
| EA = each |  |  |  |  |  |  |  |  |