SECTION 013233 - PHOTOGRAPHIC DOCUMENTATION

- GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for the following:

          - Preconstruction photographs.

          - Periodic construction photographs.

          - Final completion construction photographs.

        - Related Requirements:

          - Section 017700 "Closeout Procedures" for submitting photographic documentation as Project Record Documents at Project closeout.

      - INFORMATIONAL SUBMITTALS

        - Key Plan: Submit key plan (PDF) of Project site and building with notation of vantage points marked for location and direction of each photograph. Indicate elevation or story of construction. Include same information as corresponding photographic documentation.

        - Digital Photographs: Submit image files within three days of taking photographs.

          - Submit photos by uploading to web-based site as directed by owner. Include copy of key plan indicating each photograph's location and direction.

          - Identification: Provide the following information with each image description in web-based project software site:

            - Name of Project.

            - Name and contact information for photographer.

            - Name of Engineer and Construction Manager.

            - Name of Contractor.

            - Date photograph was taken.

            - Description of location, vantage point, and direction.

            - Unique sequential identifier keyed to accompanying key plan.

        - PDF Photo array: Submit a PDF format report containing photographs with descriptions and identifying information as provided below. Place no more than 2 photos on each 8.5-inch x 11-inch page.

          - Format: 8.5-by-11-inch page PDF photo report. Include copy of key plan indicating each photograph's location and direction. Provide one binder for each set of prints.

          - Identification: For each photo, label with the following information (items a through d may be listed once at beginning of photo report):

            - Name of Project.

            - Name and contact information for photographer.

            - Name of Engineer and Construction Manager.

            - Name of Contractor.

            - Date photograph was taken if not date stamped by camera.

            - Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

            - Unique sequential identifier keyed to accompanying key plan.

      - FORMATS AND MEDIA

        - Digital Photographs: Provide color images in JPG format, produced by a digital camera with minimum sensor size of 12 megapixels, and at an image resolution of not less than 3200 by 2400 pixels. Use flash in low light levels or backlit conditions.

        - Digital Images: Submit digital media as originally recorded in the digital camera, without alteration, manipulation, editing, or modifications using image-editing software.

        - Metadata: Record accurate date and time and GPS location data from camera.

        - File Names: Name media files with date and sequential numbering suffix.

      - CONSTRUCTION PHOTOGRAPHS

        - Photographer: Engage a qualified photographer to take construction photographs.

        - General: Take photographs with maximum depth of field and in focus.

          - Maintain key plan with each set of construction photographs that identifies each photographic location.

        - Preconstruction Photographs: Before starting construction, take photographs of Project site and surrounding properties, including existing items to remain during construction, from different vantage points, as directed by Construction Manager.

          - Flag construction limits before taking construction photographs.

          - Take 20 photographs to show existing conditions adjacent to property before starting the Work.

          - Take 20 photographs of existing buildings either on or adjoining property to accurately record physical conditions at start of construction.

          - Take additional photographs as required to record settlement or cracking of adjacent structures, pavements, and improvements.

        - Periodic Construction Photographs: Take at least 20 photographs weekly. Select vantage points to show status of construction and progress since last photographs were taken.

        - Final Completion Construction Photographs: Take at least 50 photographs after date of Substantial Completion for submission as Project Record Documents. Construction Manager will inform photographer of desired vantage points.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION 013233