SECTION 016000 - PRODUCT REQUIREMENTS GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for selection of products for use in Project; product delivery, storage, and handling; manufacturers' standard warranties on products; special warranties; and comparable products.

        - Related Requirements:

          - Section 012500 "Substitution Procedures" for requests for substitutions.

      - DEFINITIONS

        - Products: Items obtained for incorporating into the Work, whether purchased for Project or taken from previously purchased stock. The term "product" includes the terms "material," "equipment," "system," and terms of similar intent.

          - Named Products: Items identified by manufacturer's product name, including make or model number or other designation shown or listed in manufacturer's published product literature that is current as of date of the Contract Documents.

          - New Products: Items that have not previously been incorporated into another project or facility. Products salvaged or recycled from other projects are not considered new products.

          - Comparable Product: Product that is demonstrated and approved by Engineer through submittal process to have the indicated qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics that equal or exceed those of specified product.

        - Basis-of-Design Product Specification: A specification in which a single manufacturer's product is named and accompanied by the words "basis-of-design product," including make or model number or other designation. In addition to the basis-of-design product description, product attributes and characteristics may be listed to establish the significant qualities related to type, function, in-service performance and physical properties, weight, dimension, durability, visual characteristics, and other special features and requirements for purposes of evaluating comparable products of additional manufacturers named in the specification.

      - ACTION SUBMITTALS

        - Comparable Product Request Submittal: Submit request for consideration of each comparable product. Identify basis-of-design product or fabrication or installation method to be replaced. Include Specification Section number and title and Drawing numbers and titles.

          - Include data to indicate compliance with the requirements specified in "Comparable Products" Article.

          - Engineer's Action: If necessary, Engineer will request additional information or documentation for evaluation within seven days of receipt of a comparable product request. Engineer will notify Contractor through Construction Manager of approval or rejection of proposed comparable product request within 15 days of receipt of request, or seven days of receipt of additional information or documentation, whichever is later.

            - Form of Engineer's Approval of Submittal: As specified in Section 013300 "Submittal Procedures."

            - Use product specified if Engineer does not issue a decision on use of a comparable product request within time allocated.

        - Basis-of-Design Product Specification Submittal: Comply with requirements in Section 013300 "Submittal Procedures." Show compliance with requirements.

      - QUALITY ASSURANCE

        - Compatibility of Options: If Contractor is given option of selecting between two or more products for use on Project, select product compatible with products previously selected, even if previously selected products were also options.

      - PRODUCT DELIVERY, STORAGE, AND HANDLING

        - Deliver, store, and handle products using means and methods that will prevent damage, deterioration, and loss, including theft and vandalism. Comply with manufacturer's written instructions.

        - Delivery and Handling:

          - Schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

          - Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

          - Deliver products to Project site in an undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

          - Inspect products on delivery to determine compliance with the Contract Documents and to determine that products are undamaged and properly protected.

        - Storage:

          - Store products to allow for inspection and measurement of quantity or counting of units.

          - Store materials in a manner that will not endanger Project structure.

          - Store products that are subject to damage by the elements, under cover in a weathertight enclosure above ground, with ventilation adequate to prevent condensation.

          - Protect foam plastic from exposure to sunlight, except to extent necessary for period of installation and concealment.

          - Comply with product manufacturer's written instructions for temperature, humidity, ventilation, and weather-protection requirements for storage.

          - Protect stored products from damage and liquids from freezing.

      - PRODUCT WARRANTIES

        - Warranties specified in other Sections shall be in addition to, and run concurrent with, other warranties required by the Contract Documents. Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

          - Manufacturer's Warranty: Written warranty furnished by individual manufacturer for a particular product and specifically endorsed by manufacturer to Owner.

          - Special Warranty: Written warranty required by the Contract Documents to provide specific rights for Owner.

        - Special Warranties: Prepare a written document that contains appropriate terms and identification, ready for execution.

          - Manufacturer's Standard Form: Modified to include Project-specific information and properly executed.

          - Specified Form: When specified forms are included with the Specifications, prepare a written document using indicated form properly executed.

          - See other Sections for specific content requirements and particular requirements for submitting special warranties.

- PRODUCTS

      - PRODUCT SELECTION PROCEDURES

        - General Product Requirements: Provide products that comply with the Contract Documents, are undamaged and, unless otherwise indicated, are new at time of installation.

          - Provide products complete with accessories, trim, finish, fasteners, and other items needed for a complete installation and indicated use and effect.

          - Standard Products: If available, and unless custom products or nonstandard options are specified, provide standard products of types that have been produced and used successfully in similar situations on other projects.

          - Owner reserves the right to limit selection to products with warranties meeting requirements of the Contract Documents.

          - Where products are accompanied by the term "as selected," Engineer will make selection.

          - Descriptive, performance, and reference standard requirements in the Specifications establish salient characteristics of products.

        - Product Selection Procedures:

          - Sole Product: Where Specifications name a single manufacturer and product, provide the named product that complies with requirements. Comparable products or substitutions for Contractor's convenience will not be considered.

            - Sole product may be indicated by the phrase: "Subject to compliance with requirements, provide the following: …"

          - Sole Manufacturer/Source: Where Specifications name a single manufacturer or source, provide a product by the named manufacturer or source that complies with requirements. Comparable products or substitutions for Contractor's convenience will not be considered.

            - Sole manufacturer/source may be indicated by the phrase: "Subject to compliance with requirements, provide products by the following: …"

          - Limited List of Products: Where Specifications include a list of names of both manufacturers and products, provide one of the products listed that complies with requirements. Comparable products or substitutions for Contractor's convenience will be considered unless otherwise indicated.

            - Limited list of products may be indicated by the phrase: "Subject to compliance with requirements, provide one of the following: …"

          - Non-Limited List of Products: Where Specifications include a list of names of both available manufacturers and products, provide one of the products listed, or an unnamed product, which complies with requirements.

            - Non-limited list of products is indicated by the phrase: "Subject to compliance with requirements, available products that may be incorporated in the Work include, but are not limited to, the following: …"

          - Limited List of Manufacturers: Where Specifications include a list of manufacturers' names, provide a product by one of the manufacturers listed that complies with requirements. Comparable products or substitutions for Contractor's convenience will be considered unless otherwise indicated.

            - Limited list of manufacturers is indicated by the phrase: "Subject to compliance with requirements, provide products by one of the following: …"

          - Non-Limited List of Manufacturers: Where Specifications include a list of available manufacturers, provide a product by one of the manufacturers listed, or a product by an unnamed manufacturer, which complies with requirements.

            - Non-limited list of manufacturers is indicated by the phrase: "Subject to compliance with requirements, available manufacturers whose products may be incorporated in the Work include, but are not limited to, the following: …"

          - Basis-of-Design Product: Where Specifications name a product, or refer to a product indicated on Drawings, and include a list of manufacturers, provide the specified or indicated product or a comparable product by one of the other named manufacturers. Drawings and Specifications indicate sizes, profiles, dimensions, and other characteristics that are based on the product named. Comply with requirements in "Comparable Products" Article for consideration of an unnamed product by one of the other named manufacturers.

            - For approval of products by unnamed manufacturers, comply with requirements in Section 012500 "Substitution Procedures" for substitutions for convenience.

        - Visual Matching Specification: Where Specifications require "match Engineer's sample," provide a product that complies with requirements and matches Engineer's sample. Engineer's decision will be final on whether a proposed product matches.

          - If no product available within specified category matches and complies with other specified requirements, comply with requirements in Section 012500 "Substitution Procedures" for proposal of product.

        - Visual Selection Specification: Where Specifications include the phrase "as selected by Engineer from manufacturer's full range" or similar phrase, select a product that complies with requirements. Engineer will select color, gloss, pattern, density, or texture from manufacturer's product line that includes both standard and premium items.

      - COMPARABLE PRODUCTS

        - Conditions for Consideration of Comparable Products: Engineer will consider Contractor's request for comparable product when the following conditions are satisfied. If the following conditions are not satisfied, Engineer may return requests without action, except to record noncompliance with these requirements:

          - Evidence that proposed product does not require revisions to the Contract Documents, is consistent with the Contract Documents, will produce the indicated results, and is compatible with other portions of the Work. Detailed comparison of significant qualities of proposed product with those named in the Specifications. Significant product qualities include attributes such as type, function, in-service performance and physical properties, weight, dimension, durability, visual characteristics, and other specific features and requirements.

          - Evidence that proposed product provides specified warranty.

          - List of similar installations for completed projects with project names and addresses and names and addresses of Engineers and owners, if requested.

          - Samples, if requested.

- EXECUTION (Not Used)

END OF SECTION 016000