SECTION 017419 - CONSTRUCTION WASTE MANAGEMENT AND DISPOSAL

- GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for the following:

          - Salvaging nonhazardous demolition and construction waste.

          - Recycling nonhazardous demolition and construction waste.

          - Disposing of nonhazardous demolition and construction waste.

      - DEFINITIONS

        - Construction Waste: Building, structure, and site improvement materials and other solid waste resulting from construction, remodeling, renovation, or repair operations. Construction waste includes packaging.

        - Demolition Waste: Building, structure, and site improvement materials resulting from demolition operations.

        - Disposal: Removal of demolition or construction waste and subsequent salvage, sale, recycling, or deposit in landfill, incinerator acceptable to authorities having jurisdiction, or designated spoil areas on Owner’s property.

        - Recycle: Recovery of demolition or construction waste for subsequent processing in preparation for reuse.

        - Salvage: Recovery of demolition or construction waste and subsequent sale or reuse in another facility.

        - Salvage and Reuse: Recovery of demolition or construction waste and subsequent incorporation into the Work.

      - ACTION SUBMITTALS

        - Waste Management Plan: Submit plan within 30 days of date established for the Notice to Proceed.

      - INFORMATIONAL SUBMITTALS

        - Waste Reduction Progress Reports: Concurrent with each Application for Payment, submit report. Include the following information:

          - Material category.

          - Generation point of waste.

          - Total quantity of waste in tons.

          - Quantity of waste salvaged, both estimated and actual in tons.

          - Quantity of waste recycled, both estimated and actual in tons.

          - Total quantity of waste recovered (salvaged plus recycled) in tons.

          - Total quantity of waste recovered (salvaged plus recycled) as a percentage of total waste.

        - Waste Reduction Calculations: Before request for Substantial Completion, submit calculated end-of-Project rates for salvage, recycling, and disposal as a percentage of total waste generated by the Work.

        - Records of Donations: Indicate receipt and acceptance of salvageable waste donated to individuals and organizations. Indicate whether organization is tax exempt.

        - Records of Sales: Indicate receipt and acceptance of salvageable waste sold to individuals and organizations. Indicate whether organization is tax exempt.

        - Recycling and Processing Facility Records: Indicate receipt and acceptance of recyclable waste by recycling and processing facilities licensed to accept them. Include manifests, weight tickets, receipts, and invoices.

        - Landfill and Incinerator Disposal Records: Indicate receipt and acceptance of waste by landfills and incinerator facilities licensed to accept them. Include manifests, weight tickets, receipts, and invoices.

      - NOT USED

      - WASTE MANAGEMENT PLAN

        - General: Develop a waste management plan according to requirements in this Section. Plan shall consist of waste identification, waste reduction work plan, and cost/revenue analysis. Distinguish between demolition and construction waste. Indicate quantities by weight or volume, but use same units of measure throughout waste management plan.

        - Waste Identification: Indicate anticipated types and quantities of demolition and construction waste generated by the Work. Include estimated quantities and assumptions for estimates.

        - Waste Reduction Work Plan: List each type of waste and whether it will be salvaged, recycled, or disposed of in landfill or incinerator. Include points of waste generation, total quantity of each type of waste, quantity for each means of recovery, and handling and transportation procedures.

          - Salvaged Materials for Reuse: For materials that will be salvaged and reused in this Project, describe methods for preparing salvaged materials before incorporation into the Work.

          - Salvaged Materials for Sale: For materials that will be sold to individuals and organizations, include list of their names, addresses, and telephone numbers.

          - Salvaged Materials for Donation: For materials that will be donated to individuals and organizations, include list of their names, addresses, and telephone numbers.

          - Recycled Materials: Include list of local receivers and processors and type of recycled materials each will accept. Include names, addresses, and telephone numbers.

          - Disposed Materials: Indicate how and where materials will be disposed of. Include name, address, and telephone number of each landfill and incinerator facility.

          - Handling and Transportation Procedures: Include method that will be used for separating recyclable waste including sizes of containers, container labeling, and designated location where materials separation will be performed.

- NOT USED

- EXECUTION

      - PLAN IMPLEMENTATION

        - General: Implement approved waste management plan. Provide handling, containers, storage, signage, transportation, and other items as required to implement waste management plan during the entire duration of the Contract.

        - Site Access and Temporary Controls: Conduct waste management operations to ensure minimum interference with roads, streets, walks, walkways, and other adjacent occupied and used facilities.

          - Designate and label specific areas on Project site necessary for separating materials that are to be salvaged and recycled.

          - Comply with Section 015000 "Temporary Facilities and Controls" for controlling dust and dirt, environmental protection, and noise control.

      - SALVAGING DEMOLITION WASTE

        - Comply with requirements in Section 024119 "Selective Demolition" for salvaging demolition waste.

      - NOT USED

      - RECYCLING DEMOLITION WASTE

        - Asphalt Paving: Break up and transport paving to asphalt-recycling facility.

        - Metals: Separate metals by type.

          - Structural Steel: Stack members according to size, type of member, and length.

          - Remove and dispose of bolts, nuts, washers, and other rough hardware.

      - NOT USED

      - DISPOSAL OF WASTE

        - General: Except for items or materials to be salvaged or recycled, remove waste materials from Project site and legally dispose of them in a landfill or incinerator acceptable to authorities having jurisdiction.

          - Except as otherwise specified, do not allow waste materials that are to be disposed of accumulate on-site.

          - Remove and transport debris in a manner that will prevent spillage on adjacent surfaces and areas.

        - Burning: Do not burn waste materials.

      - NOT USED

END OF SECTION 017419