SECTION 017823 - OPERATION AND MAINTENANCE DATA

- GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for preparing operation and maintenance manuals, including the following:

          - Operation and maintenance manuals.

      - CLOSEOUT SUBMITTALS

        - Submit operation and maintenance manuals indicated. Provide content for each manual as specified in individual Specification Sections, and as reviewed and approved at the time of Section submittals. Submit reviewed manual content formatted and organized as required by this Section.

          - Engineer and Commissioning Authority will comment on whether content of operation and maintenance submittals is acceptable.

          - Where applicable, clarify and update reviewed manual content to correspond to revisions and field conditions.

        - Format: Submit operation and maintenance manuals in the following format:

          - Submit on digital media acceptable to Engineer. Enable reviewer comments on draft submittals.

        - Final Manual Submittal: Submit each manual in final form prior to requesting inspection for Substantial Completion and at least 15 days before commencing demonstration and training. Engineer and Commissioning Authority will return copy with comments.

          - Correct or revise each manual to comply with Engineer's and Commissioning Authority's comments. Submit copies of each corrected manual within 15 days of receipt of Engineer's and Commissioning Authority's comments and prior to commencing demonstration and training.

        - Comply with Section 017700 "Closeout Procedures" for schedule for submitting operation and maintenance documentation.

      - FORMAT OF OPERATION AND MAINTENANCE MANUALS

        - Manuals, Electronic Files: Submit manuals in the form of a multiple file composite electronic PDF file for each manual type required.

          - Electronic Files: Use electronic files prepared by manufacturer where available. Where scanning of paper documents is required, configure scanned file for minimum readable file size.

          - File Names and Bookmarks: Bookmark individual documents based on file names. Name document files to correspond to system, subsystem, and equipment names used in manual directory and table of contents. Group documents for each system and subsystem into individual composite bookmarked files, then create composite manual, so that resulting bookmarks reflect the system, subsystem, and equipment names in a readily navigated file tree. Configure electronic manual to display bookmark panel on opening file.

      - REQUIREMENTS FOR EMERGENCY, OPERATION, AND MAINTENANCE MANUALS

        - Organization of Manuals: Unless otherwise indicated, organize each manual into a separate section for each system and subsystem, and a separate section for each piece of equipment not part of a system. Each manual shall contain the following materials, in the order listed:

          - Title page.

          - Table of contents.

          - Manual contents.

        - Title Page: Include the following information:

          - Subject matter included in manual.

          - Name and address of Project.

          - Name and address of Owner.

          - Date of submittal.

          - Name and contact information for Contractor.

          - Name and contact information for Construction Manager.

          - Name and contact information for Engineer.

          - Name and contact information for Commissioning Authority.

          - Names and contact information for major consultants to the Engineer that designed the systems contained in the manuals.

          - Cross-reference to related systems in other operation and maintenance manuals.

        - Table of Contents: List each product included in manual, identified by product name, indexed to the content of the volume, and cross-referenced to Specification Section number in Project Manual.

        - Manual Contents: Organize into sets of manageable size. Arrange contents alphabetically by system, subsystem, and equipment. If possible, assemble instructions for subsystems, equipment, and components of one system into a single binder.

        - Identification: In the documentation directory and in each operation and maintenance manual, identify each system, subsystem, and piece of equipment with same designation used in the Contract Documents. If no designation exists, assign a designation according to ASHRAE Guideline 4, "Preparation of Operating and Maintenance Documentation for Building Systems."

      - SYSTEMS AND EQUIPMENT OPERATION MANUALS

        - The Systems and Equipment Operation Manual may be combined with the System and Equipment Maintenance Manual

        - Systems and Equipment Operation Manual: Assemble a complete set of data indicating operation of each system, subsystem, and piece of equipment not part of a system. Include information required for daily operation and management, operating standards, and routine and special operating procedures.

        - Content: In addition to requirements in this Section, include operation data required in individual Specification Sections and the following information:

          - System, subsystem, and equipment descriptions. Use designations for systems and equipment indicated on Contract Documents.

          - Performance and design criteria if Contractor has delegated design responsibility.

          - Operating standards.

          - Operating procedures.

          - Operating logs.

          - Wiring diagrams.

          - Control diagrams.

          - Piped system diagrams.

          - Precautions against improper use.

          - License requirements including inspection and renewal dates.

        - Descriptions: Include the following:

          - Product name and model number. Use designations for products indicated on Contract Documents.

          - Manufacturer's name.

          - Equipment identification with serial number of each component.

          - Equipment function.

          - Operating characteristics.

          - Limiting conditions.

          - Performance curves.

          - Engineering data and tests.

          - Complete nomenclature and number of replacement parts.

        - Operating Procedures: Include the following, as applicable:

          - Startup procedures.

          - Equipment or system break-in procedures.

          - Routine and normal operating instructions.

          - Regulation and control procedures.

          - Instructions on stopping.

          - Normal shutdown instructions.

          - Seasonal and weekend operating instructions.

          - Required sequences for electric or electronic systems.

          - Special operating instructions and procedures.

        - Systems and Equipment Controls: Describe the sequence of operation, and diagram controls as installed.

        - Piped Systems: Diagram piping as installed, and identify color coding where required for identification.

      - SYSTEMS AND EQUIPMENT MAINTENANCE MANUALS

        - The Systems and Equipment Maintenance Manual may be combined with the System and Equipment Operation Manual

        - Systems and Equipment Maintenance Manuals: Assemble a complete set of data indicating maintenance of each system, subsystem, and piece of equipment not part of a system. Include manufacturers' maintenance documentation, preventive maintenance procedures and frequency, repair procedures, wiring and systems diagrams, lists of spare parts, and warranty information.

        - Content: For each system, subsystem, and piece of equipment not part of a system, include source information, manufacturers' maintenance documentation, maintenance procedures, maintenance and service schedules, spare parts list and source information, maintenance service contracts, and warranties and bonds, as described below.

        - Manufacturers' Maintenance Documentation: Include the following information for each component part or piece of equipment:

          - Standard maintenance instructions and bulletins; include only sheets pertinent to product or component installed. Mark each sheet to identify each product or component incorporated into the Work. If data include more than one item in a tabular format, identify each item using appropriate references from the Contract Documents. Identify data applicable to the Work and delete references to information not applicable.

            - Prepare supplementary text if manufacturers' standard printed data are not available and where the information is necessary for proper operation and maintenance of equipment or systems.

          - Drawings, diagrams, and instructions required for maintenance, including disassembly and component removal, replacement, and assembly.

          - Identification and nomenclature of parts and components.

          - List of items recommended to be stocked as spare parts.

        - Maintenance Procedures: Include the following information and items that detail essential maintenance procedures:

          - Test and inspection instructions.

          - Troubleshooting guide.

          - Precautions against improper maintenance.

          - Disassembly; component removal, repair, and replacement; and reassembly instructions.

          - Aligning, adjusting, and checking instructions.

          - Demonstration and training video recording, if available.

        - Maintenance and Service Schedules: Include service and lubrication requirements, list of required lubricants for equipment, and separate schedules for preventive and routine maintenance and service with standard time allotment.

        - Spare Parts List and Source Information: Include lists of replacement and repair parts, with parts identified and cross-referenced to manufacturers' maintenance documentation and local sources of maintenance materials and related services.

        - Warranties and Bonds: Include copies of warranties and bonds and lists of circumstances and conditions that would affect validity of warranties or bonds.

          - Include procedures to follow and required notifications for warranty claims.

        - Drawings: Prepare drawings supplementing manufacturers' printed data to illustrate the relationship of component parts of equipment and systems and to illustrate control sequence and flow diagrams. Coordinate these drawings with information contained in record Drawings to ensure correct illustration of completed installation.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION 017823