SECTION 017839 - PROJECT RECORD DOCUMENTS

- GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for project record documents, including the following:

          - Record Drawings.

          - Record Specifications.

          - Record Product Data.

        - Related Requirements:

          - Section 017300 "Execution" for requirements.

          - Section 017823 "Operation and Maintenance Data" for operation and maintenance manual requirements.

      - CLOSEOUT SUBMITTALS

        - Record Drawings: Comply with the following:

          - Number of Copies: Submit one set of marked-up record prints.

        - Record Specifications: Submit annotated PDF electronic files of Project's Specifications, including addenda and contract modifications.

        - Record Product Data: Submit annotated PDF electronic files and directories of each submittal.

          - Where record Product Data are required as part of operation and maintenance manuals, submit duplicate marked-up Product Data as a component of manual.

      - RECORD DRAWINGS

        - Record Prints: Maintain one set of marked-up paper copies of the Contract Drawings and Shop Drawings, incorporating new and revised drawings as modifications are issued.

          - Preparation: Mark record prints to show the actual installation where installation varies from that shown originally. Require individual or entity who obtained record data, whether individual or entity is Installer, subcontractor, or similar entity, to provide information for preparation of corresponding marked-up record prints.

            - Give particular attention to information on concealed elements that would be difficult to identify or measure and record later.

            - Accurately record information in an acceptable drawing technique.

            - Record data as soon as possible after obtaining it.

            - Record and check the markup before enclosing concealed installations.

            - Cross-reference record prints to corresponding photographic documentation.

          - Content: Types of items requiring marking include, but are not limited to, the following:

            - Dimensional changes to Drawings.

            - Revisions to details shown on Drawings.

            - Revisions to routing of piping and conduits.

            - Revisions to electrical circuitry.

            - Actual equipment locations.

            - Duct size and routing.

            - Locations of concealed internal utilities.

            - Changes made by Change Order or Construction Change Directive.

            - Changes made following Engineer's written orders.

            - Details not on the original Contract Drawings.

            - Field records for variable and concealed conditions.

            - Record information on the Work that is shown only schematically.

          - Mark the Contract Drawings and Shop Drawings completely and accurately. Use personnel proficient at recording graphic information in production of marked-up record prints.

          - Mark record sets with erasable, red-colored pencil. Use other colors to distinguish between changes for different categories of the Work at same location.

          - Mark important additional information that was either shown schematically or omitted from original Drawings.

          - Note Construction Change Directive numbers, alternate numbers, Change Order numbers, and similar identification, where applicable.

        - Record Digital Data Files: Immediately before inspection for Certificate of Substantial Completion, review marked-up record prints with Engineer and Construction Manager. When authorized, prepare a full set of corrected digital data files of the Contract Drawings, as follows:

          - Format: Annotated PDF electronic file with comment function enabled.

          - Incorporate changes and additional information previously marked on record prints. Delete, redraw, and add details and notations where applicable.

          - Refer instances of uncertainty to Engineer through Construction Manager for resolution.

          - Engineer will furnish Contractor with one set of digital data files of the Contract Drawings for use in recording information.

            - See Section 013100 "Project Management and Coordination" for requirements related to use of Engineer's digital data files.

            - Engineer will provide data file layer information. Record markups in separate layers.

        - Format: Identify and date each record Drawing; include the designation "PROJECT RECORD DRAWING" in a prominent location.

          - Record Prints: Organize record prints into manageable sets. Bind each set with durable paper cover sheets. Include identification on cover sheets.

          - Format: Annotated PDF electronic file with comment function enabled.

          - Record Digital Data Files: Organize digital data information into separate electronic files that correspond to each sheet of the Contract Drawings. Name each file with the sheet identification. Include identification in each digital data file.

          - Identification: As follows:

            - Project name.

            - Date.

            - Designation "PROJECT RECORD DRAWINGS."

            - Name of Engineer and Construction Manager.

            - Name of Contractor.

      - RECORD SPECIFICATIONS

        - Preparation: Mark Specifications to indicate the actual product installation where installation varies from that indicated in Specifications, addenda, and contract modifications.

          - Give particular attention to information on concealed products and installations that cannot be readily identified and recorded later.

          - Mark copy with the proprietary name and model number of products, materials, and equipment furnished, including substitutions and product options selected.

          - Record the name of manufacturer, supplier, Installer, and other information necessary to provide a record of selections made.

          - For each principal product, indicate whether record Product Data has been submitted in operation and maintenance manuals instead of submitted as record Product Data.

          - Note related Change Orders, record Product Data, and record Drawings where applicable.

        - Format: Submit record Specifications as annotated PDF electronic file.

      - RECORD PRODUCT DATA

        - Recording: Maintain one copy of each submittal during the construction period for project record document purposes. Post changes and revisions to project record documents as they occur; do not wait until end of Project.

        - Preparation: Mark Product Data to indicate the actual product installation where installation varies substantially from that indicated in Product Data submittal.

          - Give particular attention to information on concealed products and installations that cannot be readily identified and recorded later.

          - Include significant changes in the product delivered to Project site and changes in manufacturer's written instructions for installation.

          - Note related Change Orders, record Specifications, and record Drawings where applicable.

        - Format: Submit record Product Data as annotated PDF electronic file.

          - Include record Product Data directory organized by Specification Section number and title, electronically linked to each item of record Product Data.

      - MAINTENANCE OF RECORD DOCUMENTS

        - Maintenance of Record Documents: Store record documents in the field office apart from the Contract Documents used for construction. Do not use project record documents for construction purposes. Maintain record documents in good order and in a clean, dry, legible condition, protected from deterioration and loss. Provide access to project record documents for Engineer's and Construction Manager's reference during normal working hours.

- PRODUCTS

- EXECUTION

END OF SECTION 017839